|  |
| --- |
| **WEEKLY WIPE TEST REPORT** |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DEPARTMENT: Surgery | | | | | | | | | | LOCATION: OR | | | |
| INSTRUMENT: 26-1 | | | | | | | | | | SERIAL NUMBER: 4114 | | | |
| \* Unless otherwise specified, measurements made with GM survey meter with results in dpm/100 cm2.  ✓ = background reading (<200 dpm/100 cm2)  Note that Action level is 1000 dpm/100 cm2 for an uncontrolled area and 10,000 dpm/100 cm2 for controlled areas. Efficiency for a Ludlum 26-1 or Ludlum 44-9 is 20% for 117mSn. | | | | | | | | | | | | | |
| Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Survey By |
| *10/1/20* | *✓* | *✓* | *✓* | *✓* | *✓* | *✓* | *✓* | *✓* | *✓* |  |  |  | *CAS* |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Insert Lab Map Here: